## Quick Inputs- Change Every Time
Quick Inputs
Fill out this sheet, and many things will calculate automatically on the Expense List. This sheet is for inputs which will be different for every individual project, like customer counts and component sizes.
Key
Inputs
Commonly changed inputs (Douglas removed these, but learn this tool and apply them yourself!)
Calculations
Budgeting Inputs | Amount | Units | Named Range (for easy reference) | Source/Notes
Main Project Information
Name | Template Minigrid
PV Size | 48.6 | kW
Battery Size | 74 | kWh
Distribution Length | 5 | km
Transmission Length | 1 | km
Number of customers | 400
Batteries
Materials
Number of batteries for this project | 10 |  | BatteryCount
kWh per battery | 7.4 |  | BatterykWhPerUnit
Price per battery | 2200 | $ | BatteryPricePerUnit
Lugs per battery | 4 |  | BatteryLugsPerUnit
kWh for this site | 74 |  | BatterykWhAtSite
Battery Cost (for this project) | 22000 | $ | BatteryCost
Shipping
How many sites in battery shipment? | 5 |  | BatterySitesCount
Battery Shipping per kWh | 6 | $ | BatteryShippingPerkWh
Battery Shipping Cost (for this project) | 444 | $ | BatteryCostShipping
How are the batteries shipping? | 20' Container
Batteries shipping with inverters? | FALSE |  | CombinedShippingInvertersBatteries
Customs and Clearing
Battery inspection fee | 20550 | NGN | BatteryInspection
Battery port fees | 43740.675 | NGN | BatteryPortFees
Battery clearing agent fees | 27400 | NGN | BatteryClearingAgentFees
VAT on batteries, applied to total + all other charges | 7.5% |  | VATonBatteries
Import duty on batteries (ID, DTY), applied to total | 20% |  | DutyOnBatteries
Levy on batteries (LVY), applied to total | 0% |  | LevyOnBatteries
Battery VAT | 63759.7519 | NGN | BatteryVAT
Battery non-VAT Import Taxes | 2110583 | NGN | BatteryNonVAT
Battery Inverters
Materials
Number of battery inverters for this site | 1 |  | BatteryInverterCount
Battery inverter price | 2600 | $ | BatteryInverterPricePerUnit
Battery inverter size | 15 | kW | BatteryInverterkWPerUnit
Battery inverter cost (for this project) | 2600 | $ | BatteryInverterCost
Shipping
How many projects' battery inverters are in this shipment? | 1 |  | BatteryInverterSitesCount
Battery inverter shipping price per kW | 36 | $ | BatteryInverterShippingPricePerkW
Battery inverter shipping cost (for this project) | 540 | $ | BatteryInverterCostShipping
How are the batteries inverters shipping? | 20' Container
Customs and Clearing
Battery inverter inspection fees | 102750 | NGN | BatteryInverterInspection
Battery inverter port fees | 218703.375 | NGN | BatteryInverterPortFees
Battery inverter clearing agent fees | 137000 | NGN | BatteryInverterClearingAgentFees
VAT on battery inverters, applied to total + all other charges | 0% |  | VATonBatteryInverters
Import duty on battery inverters (ID, DTY), applied to total | 5% |  | DutyOnBatteryInverters
Levy on battery inverters (LVY), applied to total | 0% |  | LevyOnBatteryInverters
Battery inverter VAT | 0 | NGN | BatteryInverterVAT
Battery inverter non-VAT Import Taxes | 86183 | NGN | BatteryInverterNonVAT
Distribution
Are you building distribution lines? | TRUE |  | DistributionTrueFalse
Distribution surveyor cost (including any meals or lodging) | 120000 | NGN | DistributionSurveyCost
Kilometers to build | 5 | kilometers | DistributionKm
Materials cost per km | 4200000 | NGN | DistributionMaterialsCostPerKm | Based on Dein's estimate for Ozuzu (6 km of LV), use 4200000 for totally new lines. Just wiring is 350 per meter.
Labour cost per km | 1180552 | NGN | DistributionLabourCostPerKm | Based on Dein's estimate for Ozuzu (6 km of LV + 1.6 km of MV), use 1180552 for totally new lines.
Transport cost per km (road) | 60000 | NGN | DistributionTransportCostPerKm | This is based on Balep, but it varies wildly
Contingency | 10% |  | DistributionContingency
Fencing
Fencing length | 200 | meters | FencingLength
Fencing labour per meter | 875 | NGN | FencingLabourPerMeter | From Kapelbok actuals
Fencing materials per meter | 3500 | NGN | FencingMaterialsPerMeter | From Kapelbok actuals
Fencing materials transport per meter | 350 | NGN | FencingMaterialsTransportPerMeter | Guess
Meters
Materials
New connections target | 400 |  | NewConnections
How many sites in order? | 1 |  | MeterSitesCount
Count of SMRSD meters | 432 |  | MeterCountSMRSD
Count of SMRPI meters | 0 |  | MeterCountSMRPI
Total Customer Meter Count | 432 |  | MeterTotalCount
Count of SM200Es | 1 |  | MeterCountSM200E
SMRSD Price | 40 | $ | MeterPriceSMRSD
SMRPI Price | 100 | $ | MeterPriceSMRPI
SM200E Price | 150 | $ | MeterPriceSM200E
Base Station Count | 1 |  | MeterCountBaseStation
Modem Count | 1 |  | ModemCount
SparkMeter Base Station Price | 1050 | $ | MeterPriceBaseStation
Meter Cost Total (for this project) | 18480 | $ | MeterCost
Shipping
Shipping cost per meter | 5.48 | $ |  | Rate from the KKCF shipment
Total meter shipping cost | 2367.36 | $ | MeterShippingCost
Customs and Clearing
Meter inspection fee | 102750 | NGN | MeterInspection
Meter port fees | 100000 | NGN | MeterPortFees | This is a guess. Because meters fly, the fees are completely different.
Meter clearing agent fees | 137000 | NGN | MeterClearingAgentFees
VAT on meters, applied to total + all other charges | 0% |  | VATonMeters
Import duty on meters (ID, DTY), applied to total | 10% |  | DutyOnMeters
Levy on meters (LVY), applied to total | 35% |  | LevyOnMeters
Meter VAT | 0 | NGN | MeterVAT
Meter non-VAT Import Taxes | 4034493 | NGN | MeterNonVAT
PV
Materials
Panel size | 540 | W | PVWattsPerPanel
Number of strings | 30 |  | PVStringCount
Panels per String | 3 |  | PVPanelsPerString
Number of panels (for this project) | 90 |  | PVPanelCount
Project Wattage | 48600 | W | PVSiteWattage
Price per Watt | 0.273 | $ | PVPricePerWatt
Price per Panel | 147.42 | $ | PVPricePerPanel
PV Cost (for this project) | 13267.8 | $ | PVCost
Shipping
Total panels in shipment | 620 |  | PVPanelsInShipment
Total shipment size | 334.8 | kW | PVkWInShipment
Portion of panels going to this project | 14.52%
International transport total | 4000 | $ | PVTransportTotal
International transport per panel | 6.4516 | $ | PVTransportPerPanel
PV Shipping Cost (for this project) | 580.6452 |  | PVCostShipping
How are the panels shipping? | 20' Container
Customs and Clearing
PV inspection fee | 14915.3226 | NGN | PVInspection
PV port fees | 31747.2641 | NGN | PVPortFees
PV clearing agent fees | 19887.0968 | NGN | PVClearingAgentFees
VAT on panels, applied to total + all other charges | 0% |  | VATonPV
Import duty on panels (ID, DTY), applied to total | 0% |  | DutyOnPV
Levy on panels (LVY), applied to total | 0% |  | LevyOnPV
Note: import taxes on PV panels in Nigeria are wild. You may want to study past imports and add a contingency.
PV VAT | 0 | NGN | PVVAT
PV non-VAT Import Taxes | 82990 | NGN | PVNonVAT
PV Inverters/Charger Controllers
Sites in shipment | 1 |  | PVCCSitesCount
Price per inverter/charger | 588.88 | $ | PVCCPricePerUnit
Count of PV inverters/charge controllers (for this project) | 10 |  | PVCCCount
PV inverter/charge controller cost (for this project) | 5888.8 | $ | PVCCCost
Shipping cost | 0 | $ | PVCCCostShipping | Let all the shipping and logistics costs go to battery inverters, for simplicity
Customs and Clearing
VAT on PV inverters/charge controllers, applied to total + all other charges | 0% |  | VATonPVInverters
Import duty on PV inverters/charge controllers (ID, DTY), applied to total | 5% |  | DutyOnPVInverters
Levy on PV inverters/charge controllers (LVY), applied to total | 0% |  | LevyOnPVInverters
PV VAT | 0 | NGN | PVCCVAT
PV non-VAT Import Taxes | 165792 | NGN | PVCCNonVAT
Racking
Materials and Labour
Materials price per W | 0.05 | $ | RackingPricePerW
Labour price per W | 0.01 | $ | RackingLabourPerW
Racking materials cost | 2430 | $ | RackingCost
Shipping
Racking shipping cost | 1000 | $
How many projects' racking is in this shipment? | 1 |  | RackingSitesCount
Racking shipping cost for this project | 1000 | $ | RackingShippingCost
How is the racking shipping? | 20' Container
Customs and Clearing (overwrite with 0 if you're not importing racking)
Racking Inpection Fee | 102750 | NGN | RackingInspection
Racking port fees | 218703.375 | NGN | RackingPortFees
Racking clearing agent fees | 137000 | NGN | RackingClearingAgentFees
VAT on racking, applied to total + all other charges | 7.5% |  | VATonRacking
Import duty on racking (ID, DTY), applied to total | 5% |  | DutyOnRacking
Levy on racking (LVY), applied to total | 15% |  | LevyOnRacking
Racking VAT | 9639.2756 | NGN | RackingVAT
Racking non-VAT Import Taxes | 303919 | NGN | RackingNonVAT

## Quick Inputs- Constants
Quick Inputs
Fill out this sheet, and many things will calculate automatically on the Expense List. This sheet is for inputs which usually don't change much from project to project, especially for projects built around the same time or in the same area.
Key
Inputs
Commonly changed inputs (Douglas removed these, but learn this tool and apply them yourself!)
Calculations
Budgeting Inputs | Amount | Units | Named Range (for easy reference)
Exchange Rates from USD
$ | 1
€ | 0.95
KES | 117 |  | ExchangeRateKshsUSD
NGN | 411 |  | ExchangeRateNGNUSD
International Shipping
Pre-Shipping
Inspection (SGS/BV/IT) fee | 250 | $ | InspectionFees
Shipping
Insurance rate estimate | 0.5% |  | InsuranceRateEstimate
Clearing Agents
Clearing agent fees per shipment | 137000 | NGN | ClearingAgentFees
Port and Shipping Line
Delivery Order Fee | 70 | $
20' Container
THC/Handling/Cleaning Fee | 170 | $
Shorehandling | 105 | $
Wharfage | 70 | $
Port Verification Charge | 80 | $
Total for 20' container | 218703.375 | NGN | PortFeesTwentyFoot
40' Container
THC/Handling/Cleaning Fee | 230 | $
Shorehandling | 160 | $
Wharfage | 105 | $
Port Verification Charge | 120 | $
Total for 40' container | 302650.125 | NGN | PortFeesFortyFoot
Note: LCL shipments are assumed to have the same clearing and port costs as a 20' container.
Taxes
VAT | 7.5% |  | VATRate
Import administrative charge (on product value, no shipping or insurance) | 1% |  | ImportCharge
Port surcharge (on Duty amount) | 7% |  | PortSurcharge
ECOWAS Trade Liberalization Scheme Levy (on total value) | 0.5% |  | ETLLevy
Transport (Domestic Road and Water)
Cost of 5T truck to site (or beach, for island) | 200000 | NGN | TruckCost
Split racking transport with how many other categories? | 2 |  | TruckTransportSplitRacking
Split panels transport with how many other categories? | 1 |  | TruckTransportSplitPV
Split power house cabinet transport with how many other categories? | 1 |  | TruckTransportSplitPowerHouse
Split meters transport with how many other categories? | 2 |  | TruckTransportSplitMeters
Note: The sum of the inverses of the above split numbers should add up to an integer.
Normal cargo boat transport cost | 75000 | NGN | BoatCostCargo
Big boat transport cost | 150000 | NGN | BoatCostCargoBig

## Expense List
Auto-Budgeted? | Category | Type | Item | Vendor | Notes | Currency | Exchange Rate | Budget Quantity | Budget Price | Budget VAT | Budget Total | Updated Quantity | Updated Price | Updated VAT | Running Budget Total | Project Allocation % For Cash Outs | Cash Out 1 Quantity | Cash Out 1 Price | Cash Out 1 VAT | Cash Out 1 Date | Cash Out 2 Quantity | Cash Out 2 Price | Cash Out 2 VAT | Cash Out 2 Date | Cash Out 3 Quantity | Cash Out 3 Price | Cash Out 3 VAT | Cash Out 3 Date | Cash Out Total | Remaining | Status | Spent %
Yes | Batteries | Customs | Clearing agent fees | Spedag |  | NGN | 0.0024331 | 1 | 27400 | Yes | 71.6667 |  |  |  | 71.6667 | 100% | [12 empty] | 0 | 71.6667 | 0% paid | 0
Yes | Batteries | Customs | Inspection Fee | SGS |  | NGN | 0.0024331 | 1 | 20550 | No | 50 |  |  |  | 50 | 100% | [12 empty] | 0 | 50 | 0% paid | 0
Yes | Batteries | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 2110583 | No | 5135.2384 |  |  |  | 5135.2384 | 100% | [12 empty] | 0 | 5135.2384 | 0% paid | 0
Yes | Batteries | Customs | Port fees | NPA |  | NGN | 0.0024331 | 1 | 43740.675 | No | 106.425 |  |  |  | 106.425 | 100% | [12 empty] | 0 | 106.425 | 0% paid | 0
Yes | Batteries | Customs | VAT | NCS | Batteries are VAT-free | NGN | 0.0024331 | 1 | 63759.7519 | Only VAT | 155.1332 |  |  |  | 155.1332 | 100% | [12 empty] | 0 | 155.1332 | 0% paid | 0
Yes | Batteries | Materials | Batteries |  |  | $ | 1 | 10 | 2200 | No | 22000 |  |  |  | 22000 | 100% | [12 empty] | 0 | 22000 | 0% paid | 0
No | Batteries | Materials | Solar MD Smart Logger |  |  | $ | 1 | 1 | 170.53 | No | 170.53 |  |  |  | 170.53 | 100% | [12 empty] | 0 | 170.53 | 0% paid | 0
Yes | Batteries | Transport | International transport |  |  | $ | 1 | 74 | 6 | No | 444 |  |  |  | 444 | 100% | [12 empty] | 0 | 444 | 0% paid | 0
No | Community Relations | Direct Job Cost | Pre-construction visits: lodging |  | Assuming 2 staff members go for 5 days | NGN | 0.0024331 | 10 | 12000 | Yes | 313.8686 |  |  |  | 313.8686 | 100% | [12 empty] | 0 | 313.8686 | 0% paid | 0
No | Community Relations | Direct Job Cost | Pre-construction visits: per diem |  | Assuming 2 staff members go for 5 days | NGN | 0.0024331 | 10 | 4000 | No | 97.3236 |  |  |  | 97.3236 | 100% | [12 empty] | 0 | 97.3236 | 0% paid | 0
No | Community Relations | Direct Job Cost | Pre-construction visits: rental boda bodas (or, rental cars + fuel) |  | Assuming 2 staff members go for 5 days and 1 of them is driving a motorcycle around | NGN | 0.0024331 | 5 | 10000 | No | 121.6545 |  |  |  | 121.6545 | 100% | [12 empty] | 0 | 121.6545 | 0% paid | 0
No | Community Relations | Direct Job Cost | Pre-construction visits: travel (flight) |  | Assuming 2 staff members take round-trip flights | NGN | 0.0024331 | 4 | 40000 | Yes | 418.4915 |  |  |  | 418.4915 | 100% | [12 empty] | 0 | 418.4915 | 0% paid | 0
No | Community Relations | Equipment Rentals | Chair rental and drinks for meetings |  |  | NGN | 0.0024331 | 1 | 20000 | No | 48.6618 |  |  |  | 48.6618 | 100% | [12 empty] | 0 | 48.6618 | 0% paid | 0
No | Community Relations | Labor | Salaries for community representatives |  | Sometimes the community leaders want something for their time | NGN | 0.0024331 | 1 | 8000 | No | 19.4647 |  |  |  | 19.4647 | 100% | [12 empty] | 0 | 19.4647 | 0% paid | 0
No | Community Relations | Labor | Security during construction |  | 2 guards for 1 month. This may be overkill. | NGN | 0.0024331 | 2 | 35000 | No | 170.3163 |  |  |  | 170.3163 | 100% | [12 empty] | 0 | 170.3163 | 0% paid | 0
Yes | Customer Metering and Wiring | Customs | Clearing agent fees | Spedag |  | NGN | 0.0024331 | 1 | 137000 | Yes | 358.3333 |  |  |  | 358.3333 | 100% | [12 empty] | 0 | 358.3333 | 0% paid | 0
Yes | Customer Metering and Wiring | Customs | Inspection Fee | SGS |  | NGN | 0.0024331 | 1 | 102750 | No | 250 |  |  |  | 250 | 100% | [12 empty] | 0 | 250 | 0% paid | 0
Yes | Customer Metering and Wiring | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 4034493 | No | 9816.2847 |  |  |  | 9816.2847 | 100% | [12 empty] | 0 | 9816.2847 | 0% paid | 0
Yes | Customer Metering and Wiring | Customs | Port fees | NCS |  | NGN | 0.0024331 | 1 | 100000 | Yes | 261.5572 |  |  |  | 261.5572 | 100% | [12 empty] | 0 | 261.5572 | 0% paid | 0
No | Customer Metering and Wiring | Customs | SparkMeter pre-shipment fees | SparkMeter | This can be all over the place- it varies a lot for each order. There is usally a "consolidation fee", at least. | $ | 1 | 1 | 500 | No | 500 |  |  |  | 500 | 100% | [12 empty] | 0 | 500 | 0% paid | 0
Yes | Customer Metering and Wiring | Customs | VAT | NCS |  | NGN | 0.0024331 | 1 | 0 | Only VAT | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Customer Metering and Wiring | Direct Job Cost | SparkMeter SaaS Term Licenses | SparkMeter | This is an option if we have extra money to spend. This would lower OPEX by taking away SaaS fees for 5 years. | $ | 1 | 0 | 2250 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Half | Customer Metering and Wiring | Labor | Connection labor- site agents |  |  | NGN | 0.0024331 | 400 | 400 | No | 389.2944 |  |  |  | 389.2944 | 100% | [12 empty] | 0 | 389.2944 | 0% paid | 0
Half | Customer Metering and Wiring | Labor | Connection labor- technicians |  |  | NGN | 0.0024331 | 400 | 1200 | No | 1167.8832 |  |  |  | 1167.8832 | 100% | [12 empty] | 0 | 1167.8832 | 0% paid | 0
No | Customer Metering and Wiring | Labor | Loading of meters and customer wiring materials |  |  | NGN | 0.0024331 | 1 | 18000 | No | 43.7956 |  |  |  | 43.7956 | 100% | [12 empty] | 0 | 43.7956 | 0% paid | 0
No | Customer Metering and Wiring | Labor | Offloading of meters and customer wiring materials |  |  | NGN | 0.0024331 | 1 | 18000 | No | 43.7956 |  |  |  | 43.7956 | 100% | [12 empty] | 0 | 43.7956 | 0% paid | 0
Half | Customer Metering and Wiring | Materials | Customer internal wiring |  | We don't usually do this in Nigeria | NGN | 0.0024331 | 400 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Half | Customer Metering and Wiring | Materials | Customer service drops (single-phase) |  | Assuming 25 meters (length) per customer | NGN | 0.0024331 | 10000 | 280 | Yes | 7323.601 |  |  |  | 7323.601 | 100% | [12 empty] | 0 | 7323.601 | 0% paid | 0
Half | Customer Metering and Wiring | Materials | Customer service drops (three-phase) |  | Assuming 25 meters (length) per customer | NGN | 0.0024331 | 0 | 1600 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Customer Metering and Wiring | Materials | Metering Base Station | SparkMeter | Max 1000 customers per base station | $ | 1 | 1 | 1050 | No | 1050 |  |  |  | 1050 | 100% | [12 empty] | 0 | 1050 | 0% paid | 0
Half | Customer Metering and Wiring | Materials | Modem (TP-Link TL-MR6400) |  |  | NGN | 0.0024331 | 1 | 30000 | Yes | 78.4672 |  |  |  | 78.4672 | 100% | [12 empty] | 0 | 78.4672 | 0% paid | 0
Half | Customer Metering and Wiring | Materials | Shackle insulators, D-irons, and bolts |  |  | NGN | 0.0024331 | 400 | 3000 | Yes | 3138.6861 |  |  |  | 3138.6861 | 100% | [12 empty] | 0 | 3138.6861 | 0% paid | 0
Half | Customer Metering and Wiring | Materials | SIM Card | MTN |  | NGN | 0.0024331 | 1 | 100 | Yes | 0.26156 |  |  |  | 0.26156 | 100% | [12 empty] | 0 | 0.26156 | 0% paid | 0
Yes | Customer Metering and Wiring | Materials | SM200E Meters | SparkMeter |  | $ | 1 | 1 | 150 | No | 150 |  |  |  | 150 | 100% | [12 empty] | 0 | 150 | 0% paid | 0
Yes | Customer Metering and Wiring | Materials | SMRPI Meters | SparkMeter |  | $ | 1 | 0 | 100 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Customer Metering and Wiring | Materials | SMRSD Meters | SparkMeter |  | $ | 1 | 432 | 40 | No | 17280 |  |  |  | 17280 | 100% | [12 empty] | 0 | 17280 | 0% paid | 0
Yes | Customer Metering and Wiring | Transport | Customer drop wire transport to site |  |  | NGN | 0.0024331 | 1 | 200000 | No | 486.618 |  |  |  | 486.618 | 100% | [12 empty] | 0 | 486.618 | 0% paid | 0
Half | Customer Metering and Wiring | Transport | Customer internal wiring transport to site |  |  | NGN | 0.0024331 | 0 | 100000 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Customer Metering and Wiring | Transport | International transport | SparkMeter | Based on SparkMeter DDP quote for KKCF | $ | 1 | 1 | 2367.36 | No | 2367.36 |  |  |  | 2367.36 | 100% | [12 empty] | 0 | 2367.36 | 0% paid | 0
No | Customer Metering and Wiring | Transport | Meter transport to site |  |  | NGN | 0.0024331 | 1 | 280000 | No | 681.2652 |  |  |  | 681.2652 | 100% | [12 empty] | 0 | 681.2652 | 0% paid | 0
Yes | Distribution (LV) | Contingency | Distribution contingency |  | It's smart to budget 10% of total distribution costs | NGN | 0.0024331 | 5 | 544055.2 | No | 6618.6764 |  |  |  | 6618.6764 | 100% | [12 empty] | 0 | 6618.6764 | 0% paid | 0
Yes | Distribution (LV) | Direct Job Cost | Distribution surveyor |  |  | NGN | 0.0024331 | 1 | 120000 | Yes | 313.8686 |  |  |  | 313.8686 | 100% | [12 empty] | 0 | 313.8686 | 0% paid | 0
Yes | Distribution (LV) | Labor | Distribution labor |  |  | NGN | 0.0024331 | 5 | 1180552 | Yes | 15439.0925 |  |  |  | 15439.0925 | 100% | [12 empty] | 0 | 15439.0925 | 0% paid | 0
Yes | Distribution (LV) | Materials | Distribution materials |  |  | NGN | 0.0024331 | 5 | 4200000 | Yes | 54927.0073 |  |  |  | 54927.0073 | 100% | [12 empty] | 0 | 54927.0073 | 0% paid | 0
No | Distribution (LV) | Transport | Distribution materials boat transport |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Distribution (LV) | Transport | Distribution materials road transport |  |  | NGN | 0.0024331 | 5 | 60000 | No | 729.927 |  |  |  | 729.927 | 100% | [12 empty] | 0 | 729.927 | 0% paid | 0
Yes | Fencing | Labor | Fencing labor |  |  | NGN | 0.0024331 | 200 | 875 | No | 425.7908 |  |  |  | 425.7908 | 100% | [12 empty] | 0 | 425.7908 | 0% paid | 0
Yes | Fencing | Materials | Fencing materials |  |  | NGN | 0.0024331 | 200 | 3500 | Yes | 1830.9002 |  |  |  | 1830.9002 | 100% | [12 empty] | 0 | 1830.9002 | 0% paid | 0
Yes | Fencing | Transport | Fencing materials transport |  |  | NGN | 0.0024331 | 200 | 350 | Yes | 183.09 |  |  |  | 183.09 | 100% | [12 empty] | 0 | 183.09 | 0% paid | 0
No | Generator | Labor | Generator foundation labor |  |  | NGN | 0.0024331 | 0 | 35000 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Generator | Materials | Generator |  | CAT DE165C | $ | 1 | 0 | 29096.5 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Generator | Materials | Generator cabling |  | Estimate for 5-core 95 mm2 armoured copper. Based on price of 4-core 120 mm2. | NGN | 0.0024331 | 0 | 28000 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Generator | Materials | Generator foundation and shade materials |  |  | NGN | 0.0024331 | 0 | 175000 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Half | Generator | Transport | Generator transport |  |  | NGN | 0.0024331 | 0 | 200000 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Inverters/Chargers (Battery) | Customs | Clearing agent fees |  |  | NGN | 0.0024331 | 1 | 137000 | Yes | 358.3333 |  |  |  | 358.3333 | 100% | [12 empty] | 0 | 358.3333 | 0% paid | 0
Yes | Inverters/Chargers (Battery) | Customs | Inspection Fee | SGS |  | NGN | 0.0024331 | 1 | 102750 | No | 250 |  |  |  | 250 | 100% | [12 empty] | 0 | 250 | 0% paid | 0
Yes | Inverters/Chargers (Battery) | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 86183 | No | 209.691 |  |  |  | 209.691 | 100% | [12 empty] | 0 | 209.691 | 0% paid | 0
Yes | Inverters/Chargers (Battery) | Customs | Port fees | NPA |  | NGN | 0.0024331 | 1 | 218703.375 | No | 532.125 |  |  |  | 532.125 | 100% | [12 empty] | 0 | 532.125 | 0% paid | 0
Yes | Inverters/Chargers (Battery) | Customs | VAT | NCS |  | NGN | 0.0024331 | 1 | 0 | Only VAT | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Inverters/Chargers (Battery) | Materials | Battery Inverter: Victron Quattro 15 kW |  |  | $ | 1 | 1 | 2600 | No | 2600 |  |  |  | 2600 | 100% | [12 empty] | 0 | 2600 | 0% paid | 0
Yes | Inverters/Chargers (Battery) | Transport | International transport |  |  | $ | 1 | 15 | 36 | No | 540 |  |  |  | 540 | 100% | [12 empty] | 0 | 540 | 0% paid | 0
Yes | Inverters/Chargers (PV) | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 165792 | No | 403.3869 |  |  |  | 403.3869 | 100% | [12 empty] | 0 | 403.3869 | 0% paid | 0
Yes | Inverters/Chargers (PV) | Customs | VAT | NCS |  | NGN | 0.0024331 | 1 | 0 | Only VAT | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Inverters/Chargers (PV) | Materials | Extras (like surge protectors) |  |  | $ | 1 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Inverters/Chargers (PV) | Materials | Victron SmartSolar MPPT 250/85 Charge Controller |  |  | $ | 1 | 10 | 588.88 | No | 5888.8 |  |  |  | 5888.8 | 100% | [12 empty] | 0 | 5888.8 | 0% paid | 0
No | Permits | Contingency | All other permits (estimating for the unknown permit costs) |  | Total guess | NGN | 0.0024331 | 1 | 400000 | No | 973.236 |  |  |  | 973.236 | 100% | [12 empty] | 0 | 973.236 | 0% paid | 0
No | Permits | Direct Job Cost | Building Permit | State |  | NGN | 0.0024331 | 1 | 150000 | No | 364.9635 |  |  |  | 364.9635 | 100% | [12 empty] | 0 | 364.9635 | 0% paid | 0
No | Permits | Direct Job Cost | ESMP | PAMM Environmental Services |  | NGN | 0.0024331 | 1 | 900500 | Yes | 2355.3224 |  |  |  | 2355.3224 | 100% | [12 empty] | 0 | 2355.3224 | 0% paid | 0
No | Permits | Direct Job Cost | Land Lease Processing | State |  | NGN | 0.0024331 | 1 | 80000 | No | 194.6472 |  |  |  | 194.6472 | 100% | [12 empty] | 0 | 194.6472 | 0% paid | 0
No | Permits | Direct Job Cost | Land Purchase |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Permits | Direct Job Cost | NERC Application Fee | NERC |  | NGN | 0.0024331 | 1 | 80000 | No | 194.6472 |  |  |  | 194.6472 | 100% | [12 empty] | 0 | 194.6472 | 0% paid | 0
No | Plant Balance of System | Contingency | Contingency |  | Cable ties, lugs, conduit, labels, etc | NGN | 0.0024331 | 1 | 75000 | No | 182.4818 |  |  |  | 182.4818 | 100% | [12 empty] | 0 | 182.4818 | 0% paid | 0
No | Plant Balance of System | Labor | Earthing pit for site- labor |  |  | NGN | 0.0024331 | 2 | 14000 | No | 68.1265 |  |  |  | 68.1265 | 100% | [12 empty] | 0 | 68.1265 | 0% paid | 0
No | Plant Balance of System | Labor | Loading of various BOS materials |  |  | NGN | 0.0024331 | 1 | 17500 | No | 42.5791 |  |  |  | 42.5791 | 100% | [12 empty] | 0 | 42.5791 | 0% paid | 0
No | Plant Balance of System | Labor | Offloading of various BOS materials |  |  | NGN | 0.0024331 | 1 | 17500 | No | 42.5791 |  |  |  | 42.5791 | 100% | [12 empty] | 0 | 42.5791 | 0% paid | 0
No | Plant Balance of System | Materials | AC DB MCBs |  | Usually one big one for the grid, a 32 A for local heavy loads, and a 10 A for local light loads | NGN | 0.0024331 | 1 | 17500 | Yes | 45.7725 |  |  |  | 45.7725 | 100% | [12 empty] | 0 | 45.7725 | 0% paid | 0
No | Plant Balance of System | Materials | AC Distribution Board |  |  | NGN | 0.0024331 | 1 | 14000 | Yes | 36.618 |  |  |  | 36.618 | 100% | [12 empty] | 0 | 36.618 | 0% paid | 0
Half | Plant Balance of System | Materials | Battery fuses/breakers |  | Needed for some batteries, but not for Solar MD | NGN | 0.0024331 | 0 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Half | Plant Balance of System | Materials | Battery inverter AC wiring |  |  | NGN | 0.0024331 | 1 | 2000 | Yes | 5.2311 |  |  |  | 5.2311 | 100% | [12 empty] | 0 | 5.2311 | 0% paid | 0
Half | Plant Balance of System | Materials | Battery inverter DC wiring |  |  | NGN | 0.0024331 | 3 | 2000 | Yes | 15.6934 |  |  |  | 15.6934 | 100% | [12 empty] | 0 | 15.6934 | 0% paid | 0
Half | Plant Balance of System | Materials | Battery inverter mounting hardware |  |  | NGN | 0.0024331 | 1 | 700 | Yes | 1.8309 |  |  |  | 1.8309 | 100% | [12 empty] | 0 | 1.8309 | 0% paid | 0
No | Plant Balance of System | Materials | Battery racking |  |  | NGN | 0.0024331 | 1 | 17500 | No | 42.5791 |  |  |  | 42.5791 | 100% | [12 empty] | 0 | 42.5791 | 0% paid | 0
Half | Plant Balance of System | Materials | Battery wiring |  |  | NGN | 0.0024331 | 40 | 1000 | Yes | 104.6229 |  |  |  | 104.6229 | 100% | [12 empty] | 0 | 104.6229 | 0% paid | 0
Half | Plant Balance of System | Materials | Battery wiring lugs |  |  | NGN | 0.0024331 | 40 | 400 | Yes | 41.8491 |  |  |  | 41.8491 | 100% | [12 empty] | 0 | 41.8491 | 0% paid | 0
Half | Plant Balance of System | Materials | Charge controller mounting hardware |  |  | NGN | 0.0024331 | 10 | 400 | Yes | 10.4623 |  |  |  | 10.4623 | 100% | [12 empty] | 0 | 10.4623 | 0% paid | 0
Half | Plant Balance of System | Materials | Charge controller output wiring |  |  | NGN | 0.0024331 | 20 | 1200 | Yes | 62.7737 |  |  |  | 62.7737 | 100% | [12 empty] | 0 | 62.7737 | 0% paid | 0
Half | Plant Balance of System | Materials | Combiner box output wiring |  | 10 mm2 cable. Price is an estimate. Assuming 10 meters of cable (one-way) for each charge controller. | NGN | 0.0024331 | 200 | 700 | Yes | 366.18 |  |  |  | 366.18 | 100% | [12 empty] | 0 | 366.18 | 0% paid | 0
No | Plant Balance of System | Materials | Conduit for outside cable runs |  |  | NGN | 0.0024331 | 1 | 80000 | Yes | 209.2457 |  |  |  | 209.2457 | 100% | [12 empty] | 0 | 209.2457 | 0% paid | 0
No | Plant Balance of System | Materials | DC bus bars |  |  | NGN | 0.0024331 | 2 | 35000 | Yes | 183.09 |  |  |  | 183.09 | 100% | [12 empty] | 0 | 183.09 | 0% paid | 0
No | Plant Balance of System | Materials | Earthing pits for site |  |  | NGN | 0.0024331 | 2 | 115000 | No | 559.6107 |  |  |  | 559.6107 | 100% | [12 empty] | 0 | 559.6107 | 0% paid | 0
Half | Plant Balance of System | Materials | Ethernet cables for inverter monitoring |  |  | NGN | 0.0024331 | 3 | 1000 | Yes | 7.8467 |  |  |  | 7.8467 | 100% | [12 empty] | 0 | 7.8467 | 0% paid | 0
No | Plant Balance of System | Materials | Frame for mounting inverters and switchgear |  |  | NGN | 0.0024331 | 1 | 40000 | Yes | 104.6229 |  |  |  | 104.6229 | 100% | [12 empty] | 0 | 104.6229 | 0% paid | 0
No | Plant Balance of System | Materials | Hardware for frame for mounting inverters and switchgear |  |  | NGN | 0.0024331 | 1 | 800 | Yes | 2.0925 |  |  |  | 2.0925 | 100% | [12 empty] | 0 | 2.0925 | 0% paid | 0
No | Plant Balance of System | Materials | Inverter monitoring device power supply |  | Comes with Victron GX devices, but doesn't come with SMA, for example | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Plant Balance of System | Materials | Lightning arrestor cabling |  | Total guess | NGN | 0.0024331 | 10 | 2000 | Yes | 52.3114 |  |  |  | 52.3114 | 100% | [12 empty] | 0 | 52.3114 | 0% paid | 0
No | Plant Balance of System | Materials | Lightning arrestor kit for site |  |  | NGN | 0.0024331 | 1 | 20000 | Yes | 52.3114 |  |  |  | 52.3114 | 100% | [12 empty] | 0 | 52.3114 | 0% paid | 0
Half | Plant Balance of System | Materials | MC4 connectors |  |  | NGN | 0.0024331 | 30 | 1500 | Yes | 117.7007 |  |  |  | 117.7007 | 100% | [12 empty] | 0 | 117.7007 | 0% paid | 0
Half | Plant Balance of System | Materials | PV Combiner Boxes |  |  | NGN | 0.0024331 | 10 | 15000 | Yes | 392.3358 |  |  |  | 392.3358 | 100% | [12 empty] | 0 | 392.3358 | 0% paid | 0
No | Plant Balance of System | Materials | Racking earthing cables |  |  | NGN | 0.0024331 | 50 | 1300 | Yes | 170.0122 |  |  |  | 170.0122 | 100% | [12 empty] | 0 | 170.0122 | 0% paid | 0
Half | Plant Balance of System | Materials | Solar panel string wiring |  |  | NGN | 0.0024331 | 240 | 300 | Yes | 188.3212 |  |  |  | 188.3212 | 100% | [12 empty] | 0 | 188.3212 | 0% paid | 0
No | Plant Balance of System | Materials | Victron GX device and accessories |  |  | $ | 1 | 1 | 392.52 | No | 392.52 |  |  |  | 392.52 | 100% | [12 empty] | 0 | 392.52 | 0% paid | 0
No | Plant Balance of System | Materials | Wiring from output breaker to grid |  |  | NGN | 0.0024331 | 20 | 16000 | Yes | 836.983 |  |  |  | 836.983 | 100% | [12 empty] | 0 | 836.983 | 0% paid | 0
No | Plant Site | Labor | Gate house labor |  |  | NGN | 0.0024331 | 1 | 70000 | No | 170.3163 |  |  |  | 170.3163 | 100% | [12 empty] | 0 | 170.3163 | 0% paid | 0
No | Plant Site | Labor | Site preparation |  |  | NGN | 0.0024331 | 1 | 50000 | No | 121.6545 |  |  |  | 121.6545 | 100% | [12 empty] | 0 | 121.6545 | 0% paid | 0
No | Plant Site | Labor | Toilets labor |  |  | NGN | 0.0024331 | 1 | 70000 | No | 170.3163 |  |  |  | 170.3163 | 100% | [12 empty] | 0 | 170.3163 | 0% paid | 0
No | Plant Site | Labor | Trenching |  |  | NGN | 0.0024331 | 1 | 30000 | No | 72.9927 |  |  |  | 72.9927 | 100% | [12 empty] | 0 | 72.9927 | 0% paid | 0
No | Plant Site | Materials | External lighting |  |  | NGN | 0.0024331 | 1 | 15000 | Yes | 39.2336 |  |  |  | 39.2336 | 100% | [12 empty] | 0 | 39.2336 | 0% paid | 0
No | Plant Site | Materials | External lighting wiring |  |  | NGN | 0.0024331 | 20 | 400 | Yes | 20.9246 |  |  |  | 20.9246 | 100% | [12 empty] | 0 | 20.9246 | 0% paid | 0
No | Plant Site | Materials | Gate house |  |  | NGN | 0.0024331 | 1 | 350000 | No | 851.5815 |  |  |  | 851.5815 | 100% | [12 empty] | 0 | 851.5815 | 0% paid | 0
No | Plant Site | Materials | Padlocks |  |  | NGN | 0.0024331 | 2 | 2000 | Yes | 10.4623 |  |  |  | 10.4623 | 100% | [12 empty] | 0 | 10.4623 | 0% paid | 0
No | Plant Site | Materials | Site tools kit |  | Full tool sets for technicians to have access to whenever needed, including multimeter. | NGN | 0.0024331 | 1 | 80000 | Yes | 209.2457 |  |  |  | 209.2457 | 100% | [12 empty] | 0 | 209.2457 | 0% paid | 0
No | Plant Site | Materials | Toilets |  |  | NGN | 0.0024331 | 1 | 300000 | No | 729.927 |  |  |  | 729.927 | 100% | [12 empty] | 0 | 729.927 | 0% paid | 0
No | Power House | Labor | Construction labor |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Power House | Labor | Foundation labor |  |  | NGN | 0.0024331 | 1 | 35000 | No | 85.1582 |  |  |  | 85.1582 | 100% | [12 empty] | 0 | 85.1582 | 0% paid | 0
No | Power House | Materials | Air conditioner |  |  | NGN | 0.0024331 | 0 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Power House | Materials | Chairs |  |  | NGN | 0.0024331 | 1 | 3000 | Yes | 7.8467 |  |  |  | 7.8467 | 100% | [12 empty] | 0 | 7.8467 | 0% paid | 0
No | Power House | Materials | Desk |  |  | NGN | 0.0024331 | 1 | 12000 | Yes | 31.3869 |  |  |  | 31.3869 | 100% | [12 empty] | 0 | 31.3869 | 0% paid | 0
No | Power House | Materials | Fire extinguisher |  |  | NGN | 0.0024331 | 1 | 40000 | Yes | 104.6229 |  |  |  | 104.6229 | 100% | [12 empty] | 0 | 104.6229 | 0% paid | 0
No | Power House | Materials | First aid kit |  |  | NGN | 0.0024331 | 1 | 30000 | Yes | 78.4672 |  |  |  | 78.4672 | 100% | [12 empty] | 0 | 78.4672 | 0% paid | 0
No | Power House | Materials | Foundation |  |  | NGN | 0.0024331 | 1 | 150000 | No | 364.9635 |  |  |  | 364.9635 | 100% | [12 empty] | 0 | 364.9635 | 0% paid | 0
No | Power House | Materials | Internal lights |  |  | NGN | 0.0024331 | 2 | 1500 | Yes | 7.8467 |  |  |  | 7.8467 | 100% | [12 empty] | 0 | 7.8467 | 0% paid | 0
No | Power House | Materials | Internal wiring |  |  | NGN | 0.0024331 | 1 | 8000 | Yes | 20.9246 |  |  |  | 20.9246 | 100% | [12 empty] | 0 | 20.9246 | 0% paid | 0
No | Power House | Materials | Power house |  |  | NGN | 0.0024331 | 1 | 1200000 | Yes | 3138.6861 |  |  |  | 3138.6861 | 100% | [12 empty] | 0 | 3138.6861 | 0% paid | 0
No | Power House | Materials | Roofing and paint for power house |  |  | NGN | 0.0024331 | 1 | 200000 | No | 486.618 |  |  |  | 486.618 | 100% | [12 empty] | 0 | 486.618 | 0% paid | 0
No | Power House | Materials | Trash bin |  |  | NGN | 0.0024331 | 1 | 3500 | Yes | 9.1545 |  |  |  | 9.1545 | 100% | [12 empty] | 0 | 9.1545 | 0% paid | 0
No | Power House | Materials | Visitors book |  |  | NGN | 0.0024331 | 1 | 5000 | Yes | 13.0779 |  |  |  | 13.0779 | 100% | [12 empty] | 0 | 13.0779 | 0% paid | 0
Half | Power House | Transport | Power house cabinet transport by boat |  |  | NGN | 0.0024331 | 0 | 75000 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
Yes | Power House | Transport | Power house transport by road |  |  | NGN | 0.0024331 | 1 | 200000 | No | 486.618 |  |  |  | 486.618 | 100% | [12 empty] | 0 | 486.618 | 0% paid | 0
Yes | Racking and Mounting | Customs | Clearing agent fees |  |  | NGN | 0.0024331 | 1 | 137000 | Yes | 358.3333 |  |  |  | 358.3333 | 100% | [12 empty] | 0 | 358.3333 | 0% paid | 0
Yes | Racking and Mounting | Customs | Inspection Fee | SGS |  | NGN | 0.0024331 | 1 | 102750 | No | 250 |  |  |  | 250 | 100% | [12 empty] | 0 | 250 | 0% paid | 0
Yes | Racking and Mounting | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 303919 | No | 739.4623 |  |  |  | 739.4623 | 100% | [12 empty] | 0 | 739.4623 | 0% paid | 0
Yes | Racking and Mounting | Customs | Port fees | NPA |  | NGN | 0.0024331 | 1 | 218703.375 | No | 532.125 |  |  |  | 532.125 | 100% | [12 empty] | 0 | 532.125 | 0% paid | 0
Yes | Racking and Mounting | Customs | VAT | NPA |  | NGN | 0.0024331 | 1 | 9639.2756 | Only VAT | 23.4532 |  |  |  | 23.4532 | 100% | [12 empty] | 0 | 23.4532 | 0% paid | 0
No | Racking and Mounting | Labor | Loading of racking materials |  |  | NGN | 0.0024331 | 1 | 15000 | Yes | 39.2336 |  |  |  | 39.2336 | 100% | [12 empty] | 0 | 39.2336 | 0% paid | 0
No | Racking and Mounting | Labor | Offloading of racking materials |  |  | NGN | 0.0024331 | 1 | 15000 | Yes | 39.2336 |  |  |  | 39.2336 | 100% | [12 empty] | 0 | 39.2336 | 0% paid | 0
Yes | Racking and Mounting | Labor | Racking labour |  |  | $ | 1 | 48600 | 0.01 | No | 486 |  |  |  | 486 | 100% | [12 empty] | 0 | 486 | 0% paid | 0
Yes | Racking and Mounting | Materials | Racking |  |  | $ | 1 | 48600 | 0.05 | No | 2430 |  |  |  | 2430 | 100% | [12 empty] | 0 | 2430 | 0% paid | 0
Half | Racking and Mounting | Materials | Racking foundations |  |  | NGN | 0.0024331 | 48600 | 4 | No | 472.9927 |  |  |  | 472.9927 | 100% | [12 empty] | 0 | 472.9927 | 0% paid | 0
No | Racking and Mounting | Transport | Racking foundations materials transport |  |  | NGN | 0.0024331 | 1 | 175000 | No | 425.7908 |  |  |  | 425.7908 | 100% | [12 empty] | 0 | 425.7908 | 0% paid | 0
No | Racking and Mounting | Transport | Racking international transport |  |  | $ | 1 | 1 | 4000 | No | 4000 |  |  |  | 4000 | 100% | [12 empty] | 0 | 4000 | 0% paid | 0
Yes | Racking and Mounting | Transport | Transport to site |  |  | NGN | 0.0024331 | 1 | 100000 | No | 243.309 |  |  |  | 243.309 | 100% | [12 empty] | 0 | 243.309 | 0% paid | 0
No | Solar Panels | Contingency | Importing contingency |  | Every time we import solar panels, incorrect and surprise charges end up sticking to us and we're forced to pay. | NGN | 0.0024331 | 1 | 1000000 | No | 2433.09 |  |  |  | 2433.09 | 100% | [12 empty] | 0 | 2433.09 | 0% paid | 0
Yes | Solar Panels | Customs | Clearing agent fees |  |  | NGN | 0.0024331 | 1 | 137000 | Yes | 358.3333 |  |  |  | 358.3333 | 100% | [12 empty] | 0 | 358.3333 | 0% paid | 0
Yes | Solar Panels | Customs | Inspection Fee | SGS |  | NGN | 0.0024331 | 1 | 14915.3226 | No | 36.2903 |  |  |  | 36.2903 | 100% | [12 empty] | 0 | 36.2903 | 0% paid | 0
Yes | Solar Panels | Customs | Non-VAT Customs | NCS |  | NGN | 0.0024331 | 1 | 82990 | No | 201.9221 |  |  |  | 201.9221 | 100% | [12 empty] | 0 | 201.9221 | 0% paid | 0
Yes | Solar Panels | Customs | Port fees | NPA |  | NGN | 0.0024331 | 1 | 31747.2641 | No | 77.244 |  |  |  | 77.244 | 100% | [12 empty] | 0 | 77.244 | 0% paid | 0
Yes | Solar Panels | Customs | VAT | NCS |  | NGN | 0.0024331 | 1 | 0 | Only VAT | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Solar Panels | Labor | Loading of solar panels |  |  | NGN | 0.0024331 | 1 | 15000 | No | 36.4964 |  |  |  | 36.4964 | 100% | [12 empty] | 0 | 36.4964 | 0% paid | 0
No | Solar Panels | Labor | Offloading of solar panels |  |  | NGN | 0.0024331 | 1 | 15000 | No | 36.4964 |  |  |  | 36.4964 | 100% | [12 empty] | 0 | 36.4964 | 0% paid | 0
Yes | Solar Panels | Materials | Solar panels | Jinko |  | $ | 1 | 90 | 147.42 | No | 13267.8 |  |  |  | 13267.8 | 100% | [12 empty] | 0 | 13267.8 | 0% paid | 0
Yes | Solar Panels | Transport | International transport | Jinko |  | $ | 1 | 90 | 6.4516 | No | 580.6452 |  |  |  | 580.6452 | 100% | [12 empty] | 0 | 580.6452 | 0% paid | 0
Yes | Solar Panels | Transport | Transport to site |  |  | NGN | 0.0024331 | 1 | 200000 | No | 486.618 |  |  |  | 486.618 | 100% | [12 empty] | 0 | 486.618 | 0% paid | 0
No | Temporary Facilities | Contingency | Boat rental contingency (for materials transport) |  |  | NGN | 0.0024331 | 0 | 50000 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Temporary Facilities | Equipment Rentals | Storage space rental |  |  | NGN | 0.0024331 | 1 | 50000 | No | 121.6545 |  |  |  | 121.6545 | 100% | [12 empty] | 0 | 121.6545 | 0% paid | 0
No | Transmission (MV) | Contingency | Transmission contingency |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Labor | Pole offloading |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Labor | Step-down transformer(s) earthing labor |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Labor | Step-up transformer base labor |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Labor | Step-up transformer earthing labor |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Labor | Transmission labor |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-down transformer(s) |  |  | NGN | 0.0024331 | 0 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-down transformer(s) earthing |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-down transformer(s) mounting |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-up transformer |  |  | NGN | 0.0024331 | 0 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-up transformer base |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Step-up transformer earthing |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Materials | Transmission materials |  |  | NGN | 0.0024331 | 0 | 0 | Yes | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Transport | Balance of transmission transport |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Transport | Conductor transport |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Transport | Poles transport |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Transmission (MV) | Transport | Transformer transport |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0
No | Travel, Lodging, and Meals | Construction Consumables | Fuel for rentals |  | Based on: 1 motorcycle, filled up weekly, 1200 per fill-up, plus 20% margin | NGN | 0.0024331 | 3 | 6000 | No | 43.7956 |  |  |  | 43.7956 | 100% | [12 empty] | 0 | 43.7956 | 0% paid | 0
No | Travel, Lodging, and Meals | Direct Job Cost | Lodging |  | Assumes 3 staff for 21 days | NGN | 0.0024331 | 63 | 12000 | Yes | 1977.3723 |  |  |  | 1977.3723 | 100% | [12 empty] | 0 | 1977.3723 | 0% paid | 0
No | Travel, Lodging, and Meals | Direct Job Cost | Per diem |  | Assumes 3 staff for 21 days | NGN | 0.0024331 | 63 | 4000 | No | 613.1387 |  |  |  | 613.1387 | 100% | [12 empty] | 0 | 613.1387 | 0% paid | 0
No | Travel, Lodging, and Meals | Direct Job Cost | Staff flights from home cities |  | 3 staff, round trip each | NGN | 0.0024331 | 3 | 40000 | Yes | 313.8686 |  |  |  | 313.8686 | 100% | [12 empty] | 0 | 313.8686 | 0% paid | 0
No | Travel, Lodging, and Meals | Equipment Rentals | Rental motorcycles/cars |  | 1 driver, 1000 a day, 21 days | NGN | 0.0024331 | 21 | 10000 | No | 510.9489 |  |  |  | 510.9489 | 100% | [12 empty] | 0 | 510.9489 | 0% paid | 0
No | Travel, Lodging, and Meals | Equipment Rentals | Rental pickup truck |  |  | NGN | 0.0024331 | 0 | 0 | No | 0 |  |  |  | 0 | 100% | [12 empty] | 0 | 0 | Cancelled | 0

## Summary
Summary (Always refresh all pivot tables before using!)
Display Settings
Currency to display (choose) | $ | Original Budget
|  |  | Construction Consumables | Contingency | Customs | Direct Job Cost | Equipment Rentals | Labor | Materials | Transport | Grand Total
Overall metrics |  | Batteries |  |  | 5518.4633 |  |  |  | 22170.53 | 444 | 28132.9933
Project cost/W | 4.3776 | Community Relations |  |  |  | 951.3382 | 48.6618 | 189.781 |  |  | 1189.781
Project cost/customer | 531.8738 | Customer Metering and Wiring |  |  | 11186.1752 | 0 |  | 1644.7689 | 29021.0158 | 3535.2432 | 45387.2031
|  | Distribution (LV) |  | 6618.6764 |  | 313.8686 |  | 15439.0925 | 54927.0073 | 729.927 | 78028.5718
Specific cost for each: |  | Fencing | [5 empty] | 425.7908 | 1830.9002 | 183.09 | 2439.781
W | 1.2348 | Generator | [5 empty] | 0 | 0 | 0 | 0
kWh | 380.1756 | Inverters/Chargers (Battery) |  |  | 1350.1493 |  |  |  | 2600 | 540 | 4490.1493
Customer | 116.4425 | Inverters/Chargers (PV) |  |  | 403.3869 |  |  |  | 5888.8 |  | 6292.1869
km (LV) | 15605.7144 | Permits |  | 973.236 |  | 3109.5803 |  |  |  |  | 4082.8163
km (MV) | 0 | Plant Balance of System |  | 182.4818 |  |  |  | 153.2847 | 4002.6173 |  | 4338.3837
|  | Plant Site | [5 empty] | 535.2798 | 1861.3747 |  | 2396.6545
|  | Power House | [5 empty] | 85.1582 | 4263.5949 | 486.618 | 4835.371
|  | Racking and Mounting |  |  | 1903.3738 |  |  | 564.4672 | 2902.9927 | 4669.0998 | 10039.9335
|  | Solar Panels |  | 2433.09 | 673.7897 |  |  | 72.9927 | 13267.8 | 1067.2632 | 17514.9356
|  | Temporary Facilities |  | 0 |  |  | 121.6545 |  |  |  | 121.6545
|  | Transmission (MV) |  | 0 |  |  |  | 0 | 0 | 0 | 0
|  | Travel, Lodging, and Meals | 43.7956 |  |  | 2904.3796 | 510.9489 |  |  |  | 3459.1241
|  | Grand Total | 43.7956 | 10207.4842 | 21035.3383 | 7279.1667 | 681.2652 | 19110.6156 | 142736.633 | 11655.2412 | 212749.5397
Running Budget
|  |  | Construction Consumables | Contingency | Customs | Direct Job Cost | Equipment Rentals | Labor | Materials | Transport | Grand Total
|  | Batteries |  |  | 5518.4633 |  |  |  | 22170.53 | 444 | 28132.9933
|  | Community Relations |  |  |  | 951.3382 | 48.6618 | 189.781 |  |  | 1189.781
|  | Customer Metering and Wiring |  |  | 11186.1752 | 0 |  | 1644.7689 | 29021.0158 | 3535.2432 | 45387.2031
|  | Distribution (LV) |  | 6618.6764 |  | 313.8686 |  | 15439.0925 | 54927.0073 | 729.927 | 78028.5718
|  | Fencing | [5 empty] | 425.7908 | 1830.9002 | 183.09 | 2439.781
|  | Generator | [5 empty] | 0 | 0 | 0 | 0
|  | Inverters/Chargers (Battery) |  |  | 1350.1493 |  |  |  | 2600 | 540 | 4490.1493
|  | Inverters/Chargers (PV) |  |  | 403.3869 |  |  |  | 5888.8 |  | 6292.1869
|  | Permits |  | 973.236 |  | 3109.5803 |  |  |  |  | 4082.8163
|  | Plant Balance of System |  | 182.4818 |  |  |  | 153.2847 | 4002.6173 |  | 4338.3837
|  | Plant Site | [5 empty] | 535.2798 | 1861.3747 |  | 2396.6545
|  | Power House | [5 empty] | 85.1582 | 4263.5949 | 486.618 | 4835.371
|  | Racking and Mounting |  |  | 1903.3738 |  |  | 564.4672 | 2902.9927 | 4669.0998 | 10039.9335
|  | Solar Panels |  | 2433.09 | 673.7897 |  |  | 72.9927 | 13267.8 | 1067.2632 | 17514.9356
|  | Temporary Facilities |  | 0 |  |  | 121.6545 |  |  |  | 121.6545
|  | Transmission (MV) |  | 0 |  |  |  | 0 | 0 | 0 | 0
|  | Travel, Lodging, and Meals | 43.7956 |  |  | 2904.3796 | 510.9489 |  |  |  | 3459.1241
|  | Grand Total | 43.7956 | 10207.4842 | 21035.3383 | 7279.1667 | 681.2652 | 19110.6156 | 142736.633 | 11655.2412 | 212749.5397
Cash Out
|  |  | Construction Consumables | Contingency | Customs | Direct Job Cost | Equipment Rentals | Labor | Materials | Transport | Grand Total
|  | Batteries |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Community Relations |  |  |  | 0 | 0 | 0 |  |  | 0
|  | Customer Metering and Wiring |  |  | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Distribution (LV) |  | 0 |  | 0 |  | 0 | 0 | 0 | 0
|  | Fencing | [5 empty] | 0 | 0 | 0 | 0
|  | Generator | [5 empty] | 0 | 0 | 0 | 0
|  | Inverters/Chargers (Battery) |  |  | 0 |  |  |  | 0 | 0 | 0
|  | Inverters/Chargers (PV) |  |  | 0 |  |  |  | 0 |  | 0
|  | Permits |  | 0 |  | 0 |  |  |  |  | 0
|  | Plant Balance of System |  | 0 |  |  |  | 0 | 0 |  | 0
|  | Plant Site | [5 empty] | 0 | 0 |  | 0
|  | Power House | [5 empty] | 0 | 0 | 0 | 0
|  | Racking and Mounting |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | Solar Panels |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | Temporary Facilities |  | 0 |  |  | 0 |  |  |  | 0
|  | Transmission (MV) |  | 0 |  |  |  | 0 | 0 | 0 | 0
|  | Travel, Lodging, and Meals | 0 |  |  | 0 | 0 |  |  |  | 0
|  | Grand Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Backend- Lists (hidden)
Expense Categories | Scales By | Running Budget Totals | Smart Pie Chart | Original Budget | Running Budget | Difference | "Other" Threshhold | Other
Batteries | kWh | 13.22% | 13.22% | 28132.9933 | 28132.9933 | 0 | 3% | 15.81%
Community Relations | Customer | 0.5592% | #N/A | 1189.781 | 1189.781 | 0
Customer Metering and Wiring | Customer | 21.33% | 21.33% | 45387.2031 | 45387.2031 | 0
Distribution (LV) | km (LV) | 36.68% | 36.68% | 78028.5718 | 78028.5718 | 0
Engineering | W | 0% | #N/A | 0 | 0 | 0
Fencing | W | 1.147% | #N/A | 2439.781 | 2439.781 | 0
Generator | W | 0% | #N/A | 0 | 0 | 0
Inverters/Chargers (Battery) | W | 2.111% | #N/A | 4490.1493 | 4490.1493 | 0
Inverters/Chargers (PV) | W | 2.958% | #N/A | 6292.1869 | 6292.1869 | 0
Overhead & Profit | W | 0% | #N/A | 0 | 0 | 0
Permits | W | 1.919% | #N/A | 4082.8163 | 4082.8163 | 0
Plant Balance of System | W | 2.039% | #N/A | 4338.3837 | 4338.3837 | 0
Plant Site | W | 1.127% | #N/A | 2396.6545 | 2396.6545 | 0
Power House | W | 2.273% | #N/A | 4835.371 | 4835.371 | 0
Racking and Mounting | W | 4.719% | 4.719% | 10039.9335 | 10039.9335 | 0
Solar Panels | W | 8.233% | 8.233% | 17514.9356 | 17514.9356 | 0
Temporary Facilities | W | 0.05718% | #N/A | 121.6545 | 121.6545 | 0
Transmission (MV) | km (MV) | 0% | #N/A | 0 | 0 | 0
Travel, Lodging, and Meals | W | 1.626% | #N/A | 3459.1241 | 3459.1241 | 0
Expense Types
Materials
Labor
Transport
Customs
Construction Consumables
Equipment Rentals
Direct Job Cost
Contingency
Expense Statuses
Fully paid for
Spending > Projected, fix
Cancelled
% paid
Unpurchased

## Backend- Calculations (hidden)
Currency Conversion
Selected display currency | $
Display currency to USD | 1
Spend Tracker
Spent | 0
Total projected cost | 212749.5397
Remaining | 212749.5397
Original vs Running Budgets
Original Budget | 212749.5397
Running Budget | 212749.5397